|  | Industrial Processes Automation MSc in Electrical and Computer Engineering Scientific Area of Systems, Decision, and Control Winter Semester 2010/2011 |
| --- | --- |

1st Lab Assignment

Alarm System for Intrusion Detection

This work aims the implementation of an intrusion detection alarm system, in a restricted space as a small room or a residence. The intrusion will be detected resorting to an infrared sensor, installed in such a way that points towards the main entrance of the space to be protected. A switch is also installed on an window of the aforementioned space.

The automation system that constitutes the alarm is to be implemented in the Schneider PLCs available on the lab. The models to be used are five Micro 3722 and one Premium 57. This document is composed by two parts: the first describes the guidelines for the first session on the lab and the second describes the functional specifications of all the work, that will be developed in the next four weeks.

Part A

General Characteristics of the Alarm:

A switch with three positions must be used to set the modes of operation of the alarm, as detailed next:

- OFF – this mode deactivates the alarm completely.

- PRESENCE DETECTOR – the infrared sensor is used to detect the movement on the room/space, that be signalized resorting both to a lamp and to the buzzer on the panel. The lamp should be on for 5 seconds, upon the detection of each person, and an acoustic signal with the duration of 1 second should be emitted.

- ACTIVE – in this mode the alarm is to be used. The following phased can be identified:

a) when requested for activation, a period of 30 seconds of inactivity is set to allow the user to abandon the space, and afterwards remains permanently activated.

b) upon intrusion detection, by the infrared sensor or the window switch, the alarm evolves to the warning phase.

c) the alarm lights a warning on the panel and after 5 seconds the buzzer must be activated. The warning must be a periodic signal with 1 second on and 2 seconds off. d) The alarm can be deactivated pressing the # key on the command panel.

- Identify the inputs and outputs of the intrusion detection alarm console. To achieve that purpose, identify all the inputs and outputs.

| PLC Inputs | Identifier | Outputs | Identifier |
| --- | --- | --- | --- |

Remark: verify carefully if there exists a key connected to one input and one output simultaneously.

- Describe the timers that will be used, their function, and the base times to be selected for each one.

| Timer Description | Function | Time Base | Operation Mode |
| --- | --- | --- | --- |

- Design one or more ladder sections to solve the aforementioned automation problem.

4. Upload the program to the PLC and execute it. Comment how it runs.

Paulo Oliveira

IST, October 11th 2010

Annex

Functional Specifications

General Characteristics of the Alarm:

A switch with three positions must be used to set the modes of operation of the alarm, as detailed next:

- OFF – this mode deactivates the alarm completely.

- PRESENCE DETECTOR – the infrared sensor is used to detect the movement on the room/space, that be signalized resorting both to a lamp and to the buzzer on the panel. The lamp should be on for 5 seconds, upon the detection of each person, and an acoustic signal with the duration of 1 second should be emitted.

- ACTIVE – in this mode the alarm is to be used. The following phased can be identified:

a) when requested for activation, a period of 30 seconds of inactivity is set to allow the user to abandon the space, and afterwards remains permanently activated.

b) upon intrusion detection, by the infrared sensor or the window switch, the alarm evolves to the warning phase.

c) the alarm lights a warning on the panel and after 5 seconds the buzzer must be activated. The warning must be a periodic signal with 1 second on and 2 seconds off. d) The alarm can be deactivated pressing the # key on the command panel.

Advanced Characteristics of the Alarm:

An advanced alternative for the alarm activation/deactivation consists on the use of a code previously set by the human owner (e.g. 9665). To implement the activation function, the following procedure must be implemented:

- switch the alarm mode to ACTIVE.

- introduce the activation code (e.g. 9665).

- press #, and wait for 30 seconds to allow the user to abandon the space.

- start the intrusion detection function, i.e. the alarm is fully operational.

To deactivate the alarm, upon intrusion detection or to allow the use of the space, the following instructions must be accomplished:

- introduce the secret code (the same as the activation one, e.g. 9665).

- Press #

- change the alarm mode to a mode other the ACTIVE.

Special Characteristics of the Alarm:

A safer mode of operation for the intrusion detection alarm is to allow the user to change the activation/deactivation code. The code 0000 is initially used, as a factory preset. To change the code, the following operations must be done:

- press *, followed by the pre-programmed code.

- Introduced the new code to be used, finished by *

In the case where a mistake occurs, press the code **** to reset the code to the factory default.

Available Material

In the laboratory there are six different working places, all with similar PLCs but different consoles. In the workplaces five have a PLC Schneider, mode 3522 and one has a Schneider Premium 57 PLC. All of them have a power supply with 24V and/or 12V and a desktop PC, with the PLC Pro 4.7 development software and the PLC manuals, in pdf format.

In each workplace there will be also a alarm console with the following components:

*	wood alarm console.

*	12 buttons keyboard, with a configuration as described next

*	12 V buzzer

*	1 infrared sensor.

*	1 three positions switch

*	1 two positions switch.

*	set of electrical contacts

The solution for this automation problem must be based on the languages described on the IEC 1131-3 standard, i.e. ladder diagrams, instruction list and structured text.